## Data
Type | Name | Value | NewValue
VALUEMAP | one | 0 | Down
VALUEMAP | one | 1 | Up
VALUEMAP | two | 0 | Error
VALUEMAP | two | 1 | Ok
Type | Name | Value
MACRO | {$MACRO1} | 1
MACRO | {$MACRO2} | 2
Type | Name | Key | Description | Units | Multiplier | ValueType | TriggerType | TriggerCondition | TriggerName | Endpoint | Slave ID | Function | Address | Count | Data Type | Endianness | Offset
MODBUS | value 1a | auto | description 1a | u1 |  | FLOAT | raw | last($this)>30 | own expression 1a | tcp://192.168.6.2 | 2 | 3 | 9999 | 2 | bit | be | 0
MODBUS | value 1b | auto | description 1b | u1 |  | FLOAT | raw | last(/$template/trap.test2)>31 | own expression 1b | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | int8 | le | 0
MODBUS | value 1c | auto | description 1c | u1 |  | FLOAT | raw | last(/$template/$key)>32 | own expression 1c | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | uint8 | mbe | 0
MODBUS | value 2 | auto | description 2 | u2 | 1.0 | FLOAT | auto | >10 | is higher | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | int16 | mle | 0
MODBUS | value 3 | auto | description 3 | u3 | 10.0 | FLOAT | auto | <10 | is lower | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | uint16 |  | 0
MODBUS | value 4 | auto | description 4 | u4 | 0.01 | FLOAT | auto | between(20,22)=1 | is between | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | int32 |  | 0
MODBUS | value 5 | auto | description 5 | u5 | 1 | FLOAT | auto | between(20,22)=0 | is not between | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | uint32 |  | 0
MODBUS | value 6 | auto | description 6 | u6 | 1 | FLOAT | auto | in(20,21,22)=1 | is in | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | float |  | 0
MODBUS | value 7 | auto | description 7 | u7 | 1 | FLOAT | auto | in(20,21,22)=0 | is not in | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | uint64 |  | 0
MODBUS | value 8 | auto | description 8 | u8 | 1 | FLOAT | auto | <20 or >22 | or | tcp://{$MODBUSIP}:{$MODBUSPORT} |  |  |  |  | double |  | 0
MODBUS | value 9 | auto | description 9 | u9 | 1 | FLOAT | auto | >19 and <23 | and | tcp://{$MODBUSIP}:{$MODBUSPORT} | [6 empty] | 0
MODBUS | value 10 | auto | description 10 | u10 | 1 | FLOAT | auto | between(20,22)=1 or in(30,31)=1 | complex | tcp://{$MODBUSIP}:{$MODBUSPORT} | [6 empty] | 0
MODBUS | value 11 | auto | description 11 | u11 |  | TEXT | auto | in("a","b")=1 | text is in | tcp://{$MODBUSIP}:{$MODBUSPORT} | [6 empty] | 0
Type | Name | Key | Description | Units | Multiplier | ValueType | TriggerType | TriggerCondition | TriggerName | OID
SNMP | value 1a | key$name | description 1a | u1 |  | FLOAT | raw | last($this)>30 | own expression 1a | oid1
SNMP | value 1b | key2 | description 1b | u2 |  | FLOAT | raw | last(/$template/key2)>31 | own expression 1b | oid2
SNMP | value 1c | key3 | description 1c | u3 |  | FLOAT | raw | last(/$template/$key)>32 | own expression 1c | oid3
SNMP | value 2 | key4 | description 2 | u4 | 1.0 | FLOAT | auto | >10 | is higher | oid4
SNMP | value 3 | key5 | description 3 | u5 | 10.0 | FLOAT | auto | <10 | is lower | oid5
SNMP | value 4 | key6 | description 4 | u6 | 0.01 | FLOAT | auto | between(20,22)=1 | is between | oid6
SNMP | value 5 | key7 | description 5 | u7 | 1 | FLOAT | auto | between(20,22)=0 | is not between | oid7
SNMP | value 6 | key8 | description 6 | u8 | 1 | FLOAT | auto | in(20,21,22)=1 | is in | oid8
SNMP | value 7 | key9 | description 7 | u9 | 1 | FLOAT | auto | in(20,21,22)=0 | is not in | oid9
SNMP | value 8 | key10 | description 8 | u10 | 1 | FLOAT | auto | <20 or >22 | or | oid10
SNMP | value 9 | key11 | description 9 | u11 | 1 | FLOAT | auto | >19 and <23 | and | oid11
SNMP | value 10 | key12 | description 10 | u12 | 1 | FLOAT | auto | between(20,22)=1 or in(30,31)=1 | complex | oid12
SNMP | value 11 | key13 | description 11 | u13 |  | TEXT | auto | in("a","b")=1 | text is in | oid13
Type | Name | Key | Description | Units | Multiplier | ValueType | TriggerType | TriggerCondition | TriggerName
API | value 1a | trap.test1 | description 1a | u1 |  | FLOAT | x | last($this)>30 | own expression 1a
API | value 1b | trap.test2 | description 1b | u1 |  | FLOAT | x | last(/$template/trap.test2)>31 | own expression 1b
API | value 1c | trap.test3 | description 1c | u1 |  | FLOAT | x | last(/$template/$key)>32 | own expression 1c